## Medical Equipment
Procurement of Medical Equipment
IB NO. 2018-GS-041
Sec. VI SCHEDULE OF REQUIREMENTS
Item No. | Item Description | Unit of Measure | Qty | Unit Cost | Total ABC
1 | Wheelchairs (Heavy duty lightweight travel wheelchair, coated frame, canvass upholstery, fixed armrest, foldable footrest, heavy duty, dual brake system, seat width: 40cm(+-5), weight capacity: 100 kgs, backseat height: 40cm (+-5), folded dimension: 85cm x 79cm x 23cm (+-5), dimension: 57x77x87cm(+-5) ) | unit | 200 | 5500 | 1100000
2 | Customized wheelchairs (tailored fit to the PWD) | unit | 30 | 30000 | 900000
3 | Adult Commode Chairs | unit | 100 | 3000 | 300000
4 | Temperature Data Logger; ambient operating RH conditions: 0-95% RH non-condensing; ambient operating temperature conditions: -10.0 to 176.0F (-23.0 to ; battery life (avg): 1 year; cable length: 6ft; calibration options: N100, N300, N400, N520; data capacity: 32,000; dimensions: 0.9 x 2.1 x 3.1 in; download time: 1 minute; download type: usb; IP Rating: 20; Included accessories: CR2450 lithium battery (user replaceable); LED indicator; Temperature accuracy: +-c | pc | 20 | 20000 | 400000
| *** NOTHING FOLLOWS *** |  |  | TOTAL | 2700000